## Sheet1
K2K Shift at Neutrino Hall - Check List
version: |  | 2026-07-29
Month-Day,Year |  | A-Shift (09:00-) |  |  |  | B-Shift (17:00-) |  |  |  | C-Shift (01:00-)
_____-___, _____ | Shift member name(s): | ______________ |  |  |  | ______________ |  |  |  | ______________
Shift credit punchclock pushed? http://neutrino.kek.jp/shift/virtual_punchclock/k2k_shift_credit.html |  | ______________ |  |  |  | ______________ |  |  |  | ______________
Hardware check - above ground level:
| Shift Room: O2, CH4 check sheet | ______________ |  |  |  | ______________ |  |  |  | ______________
| WaterSystem tent (check OK?) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Muon gas tent (No beep?) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Ground floor (0.4W fan ON?) | ______________ |  |  |  | ______________ |  |  |  | ______________
Hardware check - underground:
Read values on muon gas | In pressure | ______________ |  |  |  | ______________ |  |  |  | ______________
| Out pressure | ______________ |  |  |  | ______________ |  |  |  | ______________
| U flow rate | ______________ |  |  |  | ______________ |  |  |  | ______________
| L flow rate | ______________ |  |  |  | ______________ |  |  |  | ______________
| Temperature | ______________ |  |  |  | ______________ |  |  |  | ______________
| Atmospheric pressure | ______________ |  |  |  | ______________ |  |  |  | ______________
Electronics hut | Air-con of SCIFI ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| Air-con of LeadGlass ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| Air-con of Elec.hut ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| 8V PowerSupplies ON? (14 green LEDs) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Muon HV ON? (16 red LEDs) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Lead Glass HV ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| Fastbus Supply ON? (displays >0.0) | ______________ |  |  |  | ______________ |  |  |  | ______________
| No Smoke? No Fire? No Water? | ______________ |  |  |  | ______________ |  |  |  | ______________
SCIFI electronics | HV ON? (red) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Elec. crates No alarm? | ______________ |  |  |  | ______________ |  |  |  | ______________
| No water dripping? | ______________ |  |  |  | ______________ |  |  |  | ______________
| SCIFI black sheets closed? | ______________ |  |  |  | ______________ |  |  |  | ______________
1kt: | Compensation coil ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| Water circulation pump ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| No water leak (<1 l/min)? | ______________ |  |  |  | ______________ |  |  |  | ______________
Check at Shift Room:
| 1kt WaterSystem WEBmonitor OK? http://neutrino.kek.jp/shift/monitor/watersys/shift/ | ______________ |  |  |  | ______________ |  |  |  | ______________
| Data taking console OK? (nupc11) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| SCIFI Nhit monitor OK? http://neutrino.kek.jp/~online/scimon/ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| FGD slow monitor OK? http://nufdsl.kek.jp/~online/muon/slow/ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| FGD event display OK? (nupc03) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| Histogram (PAW) check OK? (nupc03) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| 1kt event display OK? (cuttlefish) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| 1kt slow control monitor OK? (nupc22) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| Change run if >12 hours | ______________ |  |  |  | ______________ |  |  |  | ______________
| Fill out summary.txt at neutrino | ______________ |  |  |  | ______________ |  |  |  | ______________
| Clean up shift room (or keep clean) | ______________ |  |  |  | ______________ |  |  |  | ______________
| 1-week summary to steering comm. | ______________ |  |  |  | (thursdays A-shift only)
This page is posted on the Web at http://neutrino.kek.jp/shift/manuals/nuhall_shift_check_list.ps
and available for printout in NuHall on nupc03 at /home/online/nuhall_shift_check_list.ps
K2K Shift at Neutrino Hall - Check List
version: |  | 2026-07-29
Month-Day,Year |  | A-Shift (09:00-) |  |  |  | B-Shift (17:00-) |  |  |  | C-Shift (01:00-)
_____-___, _____ | Shift member name(s): | ______________ |  |  |  | ______________ |  |  |  | ______________
Shift credit punchclock pushed? http://neutrino.kek.jp/shift/virtual_punchclock/k2k_shift_credit.html |  | ______________ |  |  |  | ______________ |  |  |  | ______________
Hardware check - above ground level:
| Shift Room: O2, CH4 check sheet | ______________ |  |  |  | ______________ |  |  |  | ______________
| WaterSystem tent (check OK?) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Muon gas tent (No beep?) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Ground floor (0.4W fan ON?) | ______________ |  |  |  | ______________ |  |  |  | ______________
Hardware check - underground:
Read values on muon gas | In pressure | ______________ |  |  |  | ______________ |  |  |  | ______________
| Out pressure | ______________ |  |  |  | ______________ |  |  |  | ______________
| U flow rate | ______________ |  |  |  | ______________ |  |  |  | ______________
| L flow rate | ______________ |  |  |  | ______________ |  |  |  | ______________
| Temperature | ______________ |  |  |  | ______________ |  |  |  | ______________
| Atmospheric pressure | ______________ |  |  |  | ______________ |  |  |  | ______________
Electronics hut | Air-con of SCIFI ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| Air-con of LeadGlass ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| Air-con of Elec.hut ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| 8V PowerSupplies ON? (14 green LEDs) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Muon HV ON? (16 red LEDs) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Lead Glass HV ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| Fastbus Supply ON? (displays >0.0) | ______________ |  |  |  | ______________ |  |  |  | ______________
| No Smoke? No Fire? No Water? | ______________ |  |  |  | ______________ |  |  |  | ______________
SCIFI electronics | HV ON? (red) | ______________ |  |  |  | ______________ |  |  |  | ______________
| Elec. crates No alarm? | ______________ |  |  |  | ______________ |  |  |  | ______________
| No water dripping? | ______________ |  |  |  | ______________ |  |  |  | ______________
| SCIFI black sheets closed? | ______________ |  |  |  | ______________ |  |  |  | ______________
1kt: | Compensation coil ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| Water circulation pump ON? | ______________ |  |  |  | ______________ |  |  |  | ______________
| No water leak (<1 l/min)? | ______________ |  |  |  | ______________ |  |  |  | ______________
Check at Shift Room:
| 1kt WaterSystem WEBmonitor OK? http://neutrino.kek.jp/shift/monitor/watersys/shift/ | ______________ |  |  |  | ______________ |  |  |  | ______________
| Data taking console OK? (nupc11) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| SCIFI Nhit monitor OK? http://neutrino.kek.jp/~online/scimon/ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| FGD slow monitor OK? http://nufdsl.kek.jp/~online/muon/slow/ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| FGD event display OK? (nupc03) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| Histogram (PAW) check OK? (nupc03) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| 1kt event display OK? (cuttlefish) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| 1kt slow control monitor OK? (nupc22) | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___
| Change run if >12 hours | ______________ |  |  |  | ______________ |  |  |  | ______________
| Fill out summary.txt at neutrino | ______________ |  |  |  | ______________ |  |  |  | ______________
| Clean up shift room (or keep clean) | ______________ |  |  |  | ______________ |  |  |  | ______________
| 1-week summary to steering comm. | ______________ |  |  |  | (thursdays A-shift only)
This page is posted on the Web at http://neutrino.kek.jp/shift/manuals/nuhall_shift_check_list.ps
and available for printout in NuHall on nupc03 at /home/online/nuhall_shift_check_list.ps